## Sheet1
Date | P1 (Watt) | P2 (Watt) | P3 (Watt) | I_L1 (Amps) | I_L2 (Amps) | I_L3 (Amps) | Alarm | V_L1_N (VAC) | V_L2_N (VAC) | V_L3_N (VAC) | Frequency (Hz) | Gen Status | Engine_Speed (RPM) | Oil_Pressure (bar) | Engine_Runtime (hours) | Dragino_Battery (VDC) | Gen_Total_Power (KW) | Gen_Total_Energy (KWH) | Coolant_Temperature (degrees Centigrade) | Engine_Battery_Volt (VDC)
2025-10-04 17:41 | 5 | 7.5 | 7.1 | 21.1 | 32.1 | 31 | Normal | 233 | 232 | 230 | 51.7 | Auto mode | 1551 | 37 | 4466.5 | 3.4 | 19.7 | 82159.1 | 60 | 14.3
2025-10-04 17:41 | 5 | 7.5 | 7.1 | 21.1 | 32.1 | 31 | Normal | 233 | 232 | 230 | 51.7 | Auto mode | 1551 | 37 | 4466.5 | 3.4 | 19.7 | 82159.1 | 60 | 14.3 | Notes
2025-10-04 17:21 | 4.7 | 6.8 | 5.6 | 20.5 | 29.5 | 25.8 | Normal | 233 | 231 | 231 | 51.9 | Auto mode | 1557 | 37 | 4466.2 | 3.4 | 17.2 | 82153.1 | 59 | 14.3 | Column H - Alarm
2025-10-04 17:01 | 4.8 | 4.7 | 7.2 | 20.8 | 20.1 | 32.2 | Normal | 231 | 235 | 232 | 51.9 | Auto mode | 1557 | 37 | 4465.9 | 3.4 | 16.7 | 82147.5 | 59 | 14.3 | 0 | Disabled Digital Input
2025-10-04 16:41 | 5 | 4.9 | 7.6 | 21.4 | 20.9 | 33.4 | Normal | 231 | 235 | 231 | 51.9 | Auto mode | 1557 | 37 | 4465.5 | 3.4 | 17.6 | 82141.8 | 60 | 14.3 | 1 | Normal or No Active Alarm
2025-10-04 16:21 | 4.7 | 4.8 | 7.3 | 20.2 | 20.1 | 31.9 | Normal | 231 | 235 | 232 | 51.9 | Auto mode | 1557 | 38 | 4465.2 | 3.4 | 16.6 | 82136.1 | 60 | 14.3 | 2 | Warning Alarm
2025-10-04 16:01 | 4.9 | 4.9 | 7.4 | 21.1 | 20.8 | 32.7 | Normal | 231 | 235 | 232 | 51.9 | Auto mode | 1557 | 37 | 4464.9 | 3.4 | 17.1 | 82130.5 | 60 | 14.3 | 3 | Shutdown Alarm
2025-10-04 16:01 | 4.9 | 4.9 | 7.4 | 21.1 | 20.8 | 32.7 | Normal | 231 | 235 | 232 | 51.9 | Auto mode | 1557 | 37 | 4464.9 | 3.4 | 17.1 | 82130.5 | 60 | 14.3 | 4 | Electrical Trip Alarm
2025-10-04 15:41 | 4.9 | 4.9 | 7.5 | 21.2 | 21.1 | 33 | Normal | 231 | 235 | 232 | 51.9 | Auto mode | 1557 | 37 | 4464.5 | 3.4 | 17.3 | 82124.8 | 60 | 14.3 | 5 | Reserved
2025-10-04 15:21 | 4.9 | 4.8 | 7.3 | 21 | 20.2 | 32 | Normal | 231 | 235 | 232 | 51.9 | Auto mode | 1557 | 37 | 4464.2 | 3.4 | 17 | 82119.1 | 60 | 14.3 | 8 | Inactive Indication
2025-10-04 15:01 | 4.7 | 4.5 | 7.1 | 20.4 | 19.2 | 31 | Normal | 231 | 235 | 232 | 52 | Auto mode | 1560 | 39 | 4463.9 | 3.4 | 16.6 | 82113.4 | 60 | 14.2 | 9 | Inactive Indication (Displayed String)
2025-10-04 14:41 | 4.9 | 4.8 | 7.4 | 21.3 | 20.6 | 32.6 | Normal | 231 | 235 | 232 | 51.9 | Auto mode | 1557 | 38 | 4463.5 | 3.4 | 17.1 | 82107.8 | 61 | 14.3 | 10 | Active Indication
2025-10-04 14:21 | 4.9 | 4.8 | 7.3 | 21.3 | 20.5 | 32.2 | Normal | 231 | 235 | 232 | 51.8 | Auto mode | 1554 | 37 | 4463.2 | 3.4 | 17 | 82102.2 | 61 | 14.3 | 11 | Reserved
2025-10-04 14:01 | 4.9 | 4.8 | 7.4 | 21.3 | 20.1 | 32.5 | Normal | 231 | 235 | 232 | 51.9 | Auto mode | 1557 | 38 | 4462.9 | 3.4 | 17.3 | 82096.5 | 60 | 14.3 | 15 | Unimplemented Alarm
2025-10-04 13:41 | 4.7 | 4.7 | 7.2 | 20.4 | 20.1 | 31.6 | Normal | 231 | 235 | 232 | 51.9 | Auto mode | 1557 | 37 | 4462.5 | 3.4 | 16.89 | 82090.8 | 61 | 14.3
2025-10-04 13:21 | 4.8 | 4.8 | 7.2 | 20.3 | 20.1 | 31.7 | Normal | 231 | 235 | 232 | 51.9 | Auto mode | 1557 | 38 | 4462.2 | 3.4 | 16.89 | 82085.1 | 60 | 14.3 | Column M - Gen Status
2025-10-04 13:01 | 4.9 | 4.7 | 7.3 | 21.1 | 20 | 32.1 | Normal | 231 | 235 | 232 | 51.8 | Auto mode | 1554 | 37 | 4461.9 | 3.4 | 17 | 82079.5 | 60 | 14.3 | 0 | Stop Mode
2025-10-04 12:41 | 4.9 | 4.7 | 7.3 | 21 | 20.1 | 32.2 | Normal | 231 | 235 | 232 | 51.9 | Auto mode | 1557 | 37 | 4461.5 | 3.4 | 16.89 | 82073.8 | 60 | 14.3 | 1 | Auto Mode
2025-10-04 12:21 | 4.9 | 4.7 | 7.5 | 21.2 | 20.1 | 33.2 | Normal | 231 | 235 | 232 | 51.9 | Auto mode | 1557 | 38 | 4461.2 | 3.4 | 16.89 | 82068.2 | 60 | 14.3 | 2 | Manual Mode
2025-10-04 12:21 | 4.9 | 4.7 | 7.5 | 21.2 | 20.1 | 33.2 | Normal | 231 | 235 | 232 | 51.9 | Auto mode | 1557 | 38 | 4461.2 | 3.4 | 16.89 | 82068.2 | 60 | 14.3 | 3 | Test on Load Mode
2025-10-04 12:01 | 4.9 | 4.7 | 7.3 | 21.3 | 20 | 32.2 | Normal | 231 | 235 | 232 | 51.9 | Auto mode | 1557 | 38 | 4460.9 | 3.4 | 16.8 | 82062.6 | 60 | 14.3 | 4 | Auto with Manual Restore Mode/ Prohibit Return
2025-10-04 11:41 | 4.8 | 4.7 | 7.3 | 20.4 | 20.1 | 32.2 | Normal | 231 | 235 | 232 | 51.9 | Auto mode | 1557 | 37 | 4460.5 | 3.4 | 16.8 | 82057.1 | 59 | 14.3 | 5 | User Configuration Mode
2025-10-04 11:21 | 4.8 | 4.6 | 7.3 | 20.7 | 19.5 | 32 | Normal | 231 | 235 | 232 | 51.9 | Auto mode | 1557 | 39 | 4460.2 | 3.4 | 16.6 | 82051.5 | 56 | 14.3 | 6 | Test Off Load Mode
2025-10-04 11:01 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4459.9 | 3.4 | 0 | 82047 | 26 | 12.5 | 7 | Off Mode
2025-10-04 10:41 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4459.9 | 3.4 | 0 | 82047 | 26 | 12.5 | 8-fffe | Reserved
2025-10-04 10:21 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4459.9 | 3.4 | 0 | 82047 | 25 | 12.5 | ffff | Unimplemented
2025-10-04 10:01 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4459.9 | 3.3 | 0 | 82047 | 25 | 12.5
2025-10-04 09:41 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4459.9 | 3.3 | 0 | 82047 | 25 | 12.5
2025-10-04 09:21 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4459.9 | 3.3 | 0 | 82047 | 25 | 12.5
2025-10-04 09:01 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4459.9 | 3.3 | 0 | 82047 | 25 | 12.6
2025-10-04 08:41 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4459.9 | 3.3 | 0 | 82047 | 25 | 12.6
2025-10-04 08:21 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4459.9 | 3.3 | 0 | 82047 | 25 | 12.6
2025-10-04 08:01 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4459.9 | 3.3 | 0 | 82047 | 25 | 12.6
2025-10-04 07:41 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4459.9 | 3.3 | 0 | 82047 | 25 | 12.6
2025-10-04 07:21 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4459.9 | 3.3 | 0 | 82047 | 26 | 12.6
2025-10-04 07:01 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4459.9 | 3.3 | 0 | 82047 | 26 | 12.6
2025-10-04 06:41 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4459.9 | 3.3 | 0 | 82047 | 26 | 12.6
2025-10-04 06:21 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4459.9 | 3.3 | 0 | 82047 | 26 | 12.6
2025-10-04 06:01 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4459.9 | 3.3 | 0 | 82047 | 26 | 12.6
2025-10-04 05:41 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4459.9 | 3.3 | 0 | 82047 | 26 | 12.6
2025-10-04 05:21 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4459.9 | 3.3 | 0 | 82047 | 26 | 12.6
2025-10-04 05:01 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4459.9 | 3.3 | 0 | 82047 | 26 | 12.6
2025-10-04 05:01 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4459.9 | 3.3 | 0 | 82047 | 26 | 12.6
2025-10-04 04:41 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4459.9 | 3.3 | 0 | 82047 | 27 | 12.6
2025-10-04 04:21 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4459.9 | 3.3 | 0 | 82047 | 27 | 12.6
2025-10-04 04:01 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4459.9 | 3.3 | 0 | 82047 | 27 | 12.6
2025-10-04 03:41 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4459.9 | 3.3 | 0 | 82047 | 27 | 12.6
2025-10-04 03:21 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4459.9 | 3.3 | 0 | 82047 | 28 | 12.7
2025-10-04 03:01 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4459.9 | 3.3 | 0 | 82047 | 28 | 12.7
2025-10-04 02:41 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4459.9 | 3.3 | 0 | 82047 | 28 | 12.7
2025-10-04 02:21 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4459.9 | 3.3 | 0 | 82047 | 28 | 12.7
2025-10-04 02:01 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4459.9 | 3.3 | 0 | 82047 | 29 | 12.7
2025-10-04 01:41 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4459.9 | 3.3 | 0 | 82047 | 29 | 12.7
2025-10-04 01:21 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4459.9 | 3.3 | 0 | 82047 | 30 | 12.7
2025-10-04 01:01 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4459.9 | 3.3 | 0 | 82047 | 31 | 12.8
2025-10-04 00:41 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4459.9 | 3.3 | 0 | 82047 | 31 | 12.8
2025-10-04 00:21 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4459.9 | 3.3 | 0 | 82047 | 32 | 12.8
2025-10-04 00:01 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4459.9 | 3.3 | 0 | 82047 | 33 | 12.8
2025-10-03 23:41 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4459.9 | 3.3 | 0 | 82047 | 35 | 12.8
2025-10-03 23:21 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4459.9 | 3.3 | 0 | 82047 | 36 | 12.8
2025-10-03 23:01 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4459.9 | 3.3 | 0 | 82047 | 37 | 12.8
2025-10-03 22:41 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4459.9 | 3.3 | 0 | 82047 | 39 | 12.8
2025-10-03 22:21 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4459.9 | 3.3 | 0 | 82047 | 40 | 12.8
2025-10-03 22:01 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4459.9 | 3.3 | 0 | 82047 | 43 | 12.8
2025-10-03 21:41 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4459.9 | 3.3 | 0 | 82047 | 46 | 12.8
2025-10-03 21:21 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4459.9 | 3.3 | 0 | 82047 | 49 | 12.8
2025-10-03 21:21 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4459.9 | 3.3 | 0 | 82047 | 49 | 12.8
2025-10-03 21:01 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4459.9 | 3.3 | 0 | 82047 | 52 | 13
2025-10-03 20:41 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4459.9 | 3.3 | 0 | 82047 | 56 | 13
2025-10-03 20:21 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4459.9 | 3.3 | 0 | 82047 | 59 | 13
2025-10-03 20:01 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4459.9 | 3.3 | 0 | 82047 | 62 | 13.2
2025-10-03 19:41 | 4.6 | 3.7 | 6.8 | 20 | 15.7 | 30 | Normal | 231 | 236 | 233 | 52.2 | Auto mode | 1566 | 40 | 4459.8 | 3.3 | 14.9 | 82045 | 54 | 14.3
2025-10-03 19:21 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4459.5 | 3.3 | 0 | 82040.8 | 49 | 13
2025-10-03 19:01 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4459.5 | 3.3 | 0 | 82040.8 | 53 | 13
2025-10-03 18:41 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4459.5 | 3.3 | 0 | 82040.8 | 57 | 13
2025-10-03 18:21 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4459.5 | 3.4 | 0 | 82040.8 | 61 | 13
2025-10-03 18:01 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4459.5 | 3.4 | 0 | 82040.8 | 63 | 13.2
2025-10-03 18:01 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4459.5 | 3.4 | 0 | 82040.8 | 63 | 13.2
2025-10-03 17:41 | 4.7 | 4.5 | 7 | 20.4 | 19.1 | 31.2 | Normal | 231 | 235 | 232 | 52.1 | Auto mode | 1563 | 39 | 4459.3 | 3.4 | 15.9 | 82037.8 | 57 | 14.3
2025-10-03 17:21 | 4.6 | 2.5 | 7 | 19.7 | 10.2 | 30.6 | Normal | 229 | 237 | 233 | 52.2 | Auto mode | 1566 | 39 | 4458.9 | 3.4 | 14.1 | 82032.5 | 57 | 14.3
2025-10-03 17:01 | 4.6 | 4.2 | 6.8 | 20 | 17.9 | 30.4 | Normal | 231 | 235 | 233 | 52 | Auto mode | 1560 | 38 | 4458.6 | 3.4 | 15.5 | 82027.3 | 58 | 14.3
2025-10-03 16:41 | 4.5 | 4.3 | 6.8 | 19.6 | 18.5 | 30.2 | Normal | 231 | 235 | 232 | 52 | Auto mode | 1560 | 39 | 4458.3 | 3.4 | 15.8 | 82021.9 | 59 | 14.3
2025-10-03 16:21 | 4.9 | 4.5 | 7.4 | 21.2 | 19.2 | 32.3 | Normal | 231 | 236 | 233 | 51.9 | Auto mode | 1557 | 38 | 4457.9 | 3.4 | 16.7 | 82016.5 | 60 | 14.3
2025-10-03 16:01 | 4.9 | 4.6 | 7.3 | 21 | 19.3 | 31.9 | Normal | 230 | 235 | 232 | 51.9 | Auto mode | 1557 | 38 | 4457.6 | 3.4 | 16.8 | 82011 | 60 | 14.3
2025-10-03 15:41 | 4.7 | 4.6 | 6.9 | 20.1 | 19.8 | 30.5 | Normal | 231 | 235 | 232 | 52 | Auto mode | 1560 | 38 | 4457.3 | 3.4 | 16.3 | 82005.5 | 59 | 14.3
2025-10-03 15:21 | 4.7 | 4.7 | 6.9 | 20.4 | 19.9 | 30.2 | Normal | 231 | 235 | 232 | 51.9 | Auto mode | 1557 | 38 | 4456.9 | 3.4 | 16 | 82000 | 59 | 14.3
2025-10-03 15:01 | 4.8 | 4.7 | 7 | 20.4 | 19.8 | 30.5 | Normal | 231 | 235 | 232 | 51.9 | Auto mode | 1557 | 39 | 4456.6 | 3.3 | 16.7 | 81994.5 | 58 | 14.3
2025-10-03 14:41 | 4.7 | 4.2 | 6.9 | 20.3 | 18 | 30.6 | Normal | 231 | 235 | 232 | 52.1 | Auto mode | 1563 | 38 | 4456.3 | 3.4 | 15.7 | 81989 | 58 | 14.3
2025-10-03 14:21 | 4.9 | 4.7 | 7.3 | 20.9 | 19.7 | 31.6 | Normal | 231 | 235 | 232 | 51.9 | Auto mode | 1557 | 39 | 4455.9 | 3.4 | 16.8 | 81983.4 | 56 | 14.3
2025-10-03 14:01 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4455.7 | 3.4 | 0 | 81978.9 | 31 | 12.5
2025-10-03 13:41 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4455.7 | 3.4 | 0 | 81978.9 | 31 | 12.5
2025-10-03 13:21 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4455.7 | 3.4 | 0 | 81978.9 | 32 | 12.5
2025-10-03 13:01 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4455.7 | 3.4 | 0 | 81978.9 | 32 | 12.5
2025-10-03 12:41 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4455.7 | 3.4 | 0 | 81978.9 | 33 | 12.6
2025-10-03 12:21 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4455.7 | 3.4 | 0 | 81978.9 | 33 | 12.6
2025-10-03 12:01 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4455.7 | 3.4 | 0 | 81978.9 | 34 | 12.6
2025-10-03 11:41 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4455.7 | 3.4 | 0 | 81978.9 | 34 | 12.6
2025-10-03 11:21 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4455.7 | 3.4 | 0 | 81978.9 | 35 | 12.6
2025-10-03 11:01 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4455.7 | 3.4 | 0 | 81978.9 | 36 | 12.6
2025-10-03 10:41 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4455.7 | 3.4 | 0 | 81978.9 | 38 | 12.6
2025-10-03 10:21 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4455.7 | 3.4 | 0 | 81978.9 | 39 | 12.7
2025-10-03 10:01 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4455.7 | 3.4 | 0 | 81978.9 | 41 | 12.7
2025-10-03 09:41 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4455.7 | 3.4 | 0 | 81978.9 | 43 | 12.8
2025-10-03 09:21 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4455.7 | 3.3 | 0 | 81978.9 | 46 | 12.8
2025-10-03 09:01 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4455.7 | 3.4 | 0 | 81978.9 | 48 | 12.8
2025-10-03 08:41 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4455.7 | 3.4 | 0 | 81978.9 | 52 | 12.8
2025-10-03 08:21 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4455.7 | 3.4 | 0 | 81978.9 | 55 | 13
2025-10-03 08:01 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4455.7 | 3.3 | 0 | 81978.9 | 54 | 13.2
2025-10-03 07:41 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4455.5 | 3.3 | 0 | 81976.4 | 25 | 12.5
2025-10-03 07:21 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4455.5 | 3.3 | 0 | 81976.4 | 25 | 12.5
2025-10-03 07:01 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4455.5 | 3.3 | 0 | 81976.4 | 25 | 12.5
2025-10-03 06:41 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4455.5 | 3.3 | 0 | 81976.4 | 25 | 12.5
2025-10-03 06:21 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4455.5 | 3.3 | 0 | 81976.4 | 25 | 12.5
2025-10-03 06:01 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4455.5 | 3.3 | 0 | 81976.4 | 25 | 12.5
2025-10-03 05:41 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4455.5 | 3.3 | 0 | 81976.4 | 25 | 12.5
2025-10-03 05:21 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4455.5 | 3.3 | 0 | 81976.4 | 25 | 12.5
2025-10-03 05:01 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4455.5 | 3.3 | 0 | 81976.4 | 25 | 12.5
2025-10-03 04:41 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4455.5 | 3.3 | 0 | 81976.4 | 25 | 12.5
2025-10-03 04:21 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4455.5 | 3.3 | 0 | 81976.4 | 25 | 12.5
2025-10-03 04:01 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4455.5 | 3.3 | 0 | 81976.4 | 25 | 12.5
2025-10-03 03:41 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4455.5 | 3.3 | 0 | 81976.4 | 25 | 12.5
2025-10-03 03:21 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4455.5 | 3.3 | 0 | 81976.4 | 26 | 12.5
2025-10-03 03:01 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4455.5 | 3.3 | 0 | 81976.4 | 26 | 12.5
2025-10-03 03:01 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4455.5 | 3.3 | 0 | 81976.4 | 26 | 12.5
2025-10-03 02:41 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4455.5 | 3.3 | 0 | 81976.4 | 26 | 12.5
2025-10-03 02:21 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4455.5 | 3.3 | 0 | 81976.4 | 26 | 12.6
2025-10-03 02:01 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4455.5 | 3.3 | 0 | 81976.4 | 26 | 12.6
2025-10-03 01:41 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4455.5 | 3.3 | 0 | 81976.4 | 26 | 12.6
2025-10-03 01:21 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4455.5 | 3.3 | 0 | 81976.4 | 26 | 12.6
2025-10-03 01:01 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4455.5 | 3.3 | 0 | 81976.4 | 26 | 12.6
2025-10-03 00:41 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4455.5 | 3.3 | 0 | 81976.4 | 26 | 12.6
2025-10-03 00:21 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4455.5 | 3.3 | 0 | 81976.4 | 26 | 12.6
2025-10-03 00:01 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4455.5 | 3.3 | 0 | 81976.4 | 27 | 12.6
2025-10-02 23:41 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4455.5 | 3.3 | 0 | 81976.4 | 27 | 12.6
2025-10-02 23:21 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4455.5 | 3.3 | 0 | 81976.4 | 27 | 12.6
2025-10-02 23:01 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4455.5 | 3.3 | 0 | 81976.4 | 27 | 12.6
2025-10-02 22:41 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4455.5 | 3.3 | 0 | 81976.4 | 27 | 12.6
2025-10-02 22:21 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4455.5 | 3.3 | 0 | 81976.4 | 27 | 12.6
2025-10-02 22:01 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4455.5 | 3.3 | 0 | 81976.4 | 28 | 12.6
2025-10-02 21:41 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4455.5 | 3.3 | 0 | 81976.4 | 28 | 12.6
2025-10-02 21:21 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4455.5 | 3.3 | 0 | 81976.4 | 28 | 12.6
2025-10-02 21:01 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4455.5 | 3.3 | 0 | 81976.4 | 28 | 12.6
2025-10-02 20:41 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4455.5 | 3.3 | 0 | 81976.4 | 29 | 12.6
2025-10-02 20:21 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4455.5 | 3.3 | 0 | 81976.4 | 29 | 12.6
2025-10-02 20:01 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4455.5 | 3.3 | 0 | 81976.4 | 29 | 12.7
2025-10-02 19:41 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4455.5 | 3.3 | 0 | 81976.4 | 30 | 12.7
2025-10-02 19:01 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4455.5 | 3.3 | 0 | 81976.4 | 32 | 12.7
2025-10-02 18:41 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4455.5 | 3.3 | 0 | 81976.4 | 33 | 12.7
2025-10-02 18:21 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4455.5 | 3.3 | 0 | 81976.4 | 34 | 12.7
2025-10-02 18:01 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4455.5 | 3.4 | 0 | 81976.4 | 34 | 12.7
2025-10-02 17:41 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4455.5 | 3.4 | 0 | 81976.4 | 35 | 12.8
2025-10-02 17:21 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4455.5 | 3.4 | 0 | 81976.4 | 37 | 12.8
2025-10-02 17:01 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4455.5 | 3.4 | 0 | 81976.4 | 38 | 12.8
2025-10-02 16:41 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4455.5 | 3.4 | 0 | 81976.4 | 38 | 12.8
2025-10-02 16:41 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4455.5 | 3.4 | 0 | 81976.4 | 38 | 12.8
2025-10-02 16:21 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4455.5 | 3.4 | 0 | 81976.4 | 39 | 12.8
2025-10-02 16:01 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4455.5 | 3.4 | 0 | 81976.4 | 40 | 12.8
2025-10-02 15:41 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4455.5 | 3.4 | 0 | 81976.4 | 41 | 12.8
2025-10-02 15:21 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4455.5 | 3.4 | 0 | 81976.4 | 43 | 12.8
2025-10-02 15:01 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4455.5 | 3.4 | 0 | 81976.4 | 44 | 12.8
2025-10-02 14:41 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4455.5 | 3.4 | 0 | 81976.4 | 46 | 12.8
2025-10-02 14:21 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4455.5 | 3.4 | 0 | 81976.4 | 48 | 12.9
2025-10-02 14:01 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4455.5 | 3.4 | 0 | 81976.4 | 50 | 13
2025-10-02 13:41 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4455.5 | 3.4 | 0 | 81976.4 | 53 | 13
2025-10-02 13:21 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4455.5 | 3.4 | 0 | 81976.4 | 57 | 13
2025-10-02 13:01 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4455.5 | 3.4 | 0 | 81976.4 | 60 | 13
2025-10-02 12:41 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4455.5 | 3.4 | 0 | 81976.4 | 64 | 13
2025-10-02 12:21 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4455.5 | 3.4 | 0 | 81976.4 | 66 | 13.2
2025-10-02 12:01 | 4.8 | 4.6 | 6.8 | 21 | 19.8 | 30.4 | Normal | 231 | 235 | 233 | 52 | Auto mode | 1560 | 37 | 4455.3 | 3.4 | 16.1 | 81973.5 | 58 | 14.3
2025-10-02 11:41 | 5 | 4.7 | 7.1 | 21.9 | 20.2 | 31.7 | Normal | 231 | 235 | 233 | 51.9 | Auto mode | 1557 | 38 | 4454.9 | 3.4 | 16.6 | 81967.9 | 58 | 14.3
2025-10-02 11:21 | 4.8 | 4.7 | 6.7 | 20.9 | 20 | 30 | Normal | 232 | 235 | 233 | 51.9 | Auto mode | 1557 | 37 | 4454.6 | 3.4 | 16 | 81962.4 | 59 | 14.3
2025-10-02 11:01 | 4.8 | 4.9 | 6.8 | 21.2 | 21.4 | 30.7 | Normal | 232 | 235 | 233 | 51.9 | Auto mode | 1557 | 37 | 4454.3 | 3.4 | 16.8 | 81957 | 59 | 14.3
2025-10-02 10:41 | 4.9 | 2.7 | 7.2 | 20.9 | 11.3 | 31.3 | Normal | 229 | 237 | 234 | 52.1 | Auto mode | 1563 | 39 | 4453.9 | 3.4 | 14.8 | 81951.9 | 57 | 14.3
2025-10-02 10:21 | 4.9 | 4.3 | 6.9 | 21 | 18.4 | 30.6 | Normal | 231 | 235 | 233 | 52.1 | Auto mode | 1563 | 39 | 4453.6 | 3.4 | 16.1 | 81946.7 | 57 | 14.3
2025-10-02 10:01 | 4.7 | 4.4 | 6.8 | 20.6 | 18.5 | 30 | Normal | 231 | 235 | 232 | 52 | Auto mode | 1560 | 38 | 4453.3 | 3.4 | 16 | 81942 | 58 | 14.3
2025-10-02 09:41 | 4.7 | 2.7 | 6.8 | 20.8 | 11.8 | 30.7 | Normal | 230 | 237 | 234 | 52.2 | Auto mode | 1566 | 38 | 4452.9 | 3.3 | 14.1 | 81936.9 | 56 | 14.3
2025-10-02 09:21 | 4.9 | 4.4 | 7.1 | 21.1 | 18.6 | 31.3 | Normal | 231 | 235 | 233 | 52 | Auto mode | 1560 | 39 | 4452.6 | 3.3 | 16.2 | 81931.9 | 56 | 14.3
2025-10-02 09:01 | 4.7 | 2.5 | 6.9 | 20.6 | 10.8 | 30.5 | Normal | 229 | 237 | 234 | 52.2 | Auto mode | 1566 | 39 | 4452.3 | 3.3 | 14.2 | 81927.1 | 56 | 14.3
2025-10-02 08:41 | 4.8 | 2.7 | 6.9 | 20.1 | 11 | 29.5 | Normal | 230 | 237 | 234 | 52.3 | Auto mode | 1569 | 39 | 4451.9 | 3.3 | 14.2 | 81922.1 | 55 | 14.3
2025-10-02 08:21 | 4.7 | 4.3 | 6.7 | 20.4 | 18.1 | 29.8 | Normal | 231 | 235 | 233 | 52.1 | Auto mode | 1563 | 40 | 4451.6 | 3.3 | 15.6 | 81917.3 | 53 | 14.3
2025-10-02 08:01 | 5.2 | 2.1 | 6.5 | 22.8 | 8.7 | 28.9 | Normal | 229 | 237 | 236 | 51.9 | Auto mode | 1557 | 49 | 4451.3 | 3.3 | 13.8 | 81912.5 | 27 | 14.3
2025-10-02 07:41 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4451.3 | 3.3 | 0 | 81912.5 | 26 | 12.6
2025-10-02 07:21 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4451.3 | 3.3 | 0 | 81912.5 | 26 | 12.6
2025-10-02 07:01 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4451.3 | 3.3 | 0 | 81912.5 | 27 | 12.6
2025-10-02 06:41 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4451.3 | 3.3 | 0 | 81912.5 | 27 | 12.6
2025-10-02 06:21 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4451.3 | 3.3 | 0 | 81912.5 | 27 | 12.6
2025-10-02 06:01 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4451.3 | 3.3 | 0 | 81912.5 | 27 | 12.6
2025-10-02 06:01 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4451.3 | 3.3 | 0 | 81912.5 | 27 | 12.6
2025-10-02 05:41 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4451.3 | 3.3 | 0 | 81912.5 | 28 | 12.6
2025-10-02 05:21 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4451.3 | 3.3 | 0 | 81912.5 | 28 | 12.6
2025-10-02 05:01 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4451.3 | 3.3 | 0 | 81912.5 | 28 | 12.6
2025-10-02 04:41 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4451.3 | 3.3 | 0 | 81912.5 | 29 | 12.6
2025-10-02 04:21 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4451.3 | 3.3 | 0 | 81912.5 | 29 | 12.6
2025-10-02 04:01 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4451.3 | 3.3 | 0 | 81912.5 | 29 | 12.6
2025-10-02 03:41 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4451.3 | 3.3 | 0 | 81912.5 | 30 | 12.6
2025-10-02 03:21 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4451.3 | 3.3 | 0 | 81912.5 | 31 | 12.6
2025-10-02 03:01 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4451.3 | 3.3 | 0 | 81912.5 | 32 | 12.6
2025-10-02 02:41 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4451.3 | 3.3 | 0 | 81912.5 | 32 | 12.6
2025-10-02 02:21 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4451.3 | 3.3 | 0 | 81912.5 | 33 | 12.6
2025-10-02 02:21 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4451.3 | 3.3 | 0 | 81912.5 | 33 | 12.6
2025-10-02 02:01 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4451.3 | 3.3 | 0 | 81912.5 | 34 | 12.6
2025-10-02 01:41 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4451.3 | 3.3 | 0 | 81912.5 | 35 | 12.6
2025-10-02 01:21 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4451.3 | 3.3 | 0 | 81912.5 | 36 | 12.7
2025-10-02 01:01 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4451.3 | 3.3 | 0 | 81912.5 | 38 | 12.7
2025-10-02 00:41 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4451.3 | 3.3 | 0 | 81912.5 | 39 | 12.7
2025-10-02 00:21 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4451.3 | 3.3 | 0 | 81912.5 | 41 | 12.7
2025-10-02 00:01 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4451.3 | 3.3 | 0 | 81912.5 | 43 | 12.7
2025-10-01 23:41 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4451.3 | 3.3 | 0 | 81912.5 | 46 | 12.8
2025-10-01 23:21 | 0 | 0 | 0 | 0 | 0 | 0 | Normal | 0 | 0 | 0 | 0 | Auto mode | 0 | 6553 | 4451.3 | 3.3 | 0 | 81912.5 | 48 | 12.8